## All Fields
| # | Item | Section | Reference/Source of Requirement | Exact Language to Use on D-REC Platform | Tooltip/explanation needed | Field type | Enums / validation | How is it Collected? | How is it Verified? | Currently on D-REC? (e.g. production vs dev)
| 1 | Device Name | General | Evident New Device Creation Fields | Site Name | n/a | Text box | n/a | Registrant fills out form on D-REC | Cross check with: - RMS - SLD - Proof of Ownership
| 2 | Default Account Code | General | Evident New Device Creation Fields | Default Evident Account Code | Please provide the Evident trade account code you would like this facility to issue into | Text box | n/a | Registrant fills out form on D-REC | n/a
| 3 | Issuer Organization | General | Evident New Device Creation Fields | Not needed -- auto-filled by D-REC platform based on GCC for <250 or local issuer for >250 kWp | n/a | n/a | n/a | Auto-filled as "GCC" | n/a
| 4 | Device Fuel | Technical | Evident New Device Creation Fields | Not needed -- all devices are solar for now | n/a | n/a | n/a | Auto-filled as "ES100 - Solar" | n/a
| 5 | Device Technology | Technical | Evident New Device Creation Fields | Installation Type | n/a | Drop-down list | Rooftop, Ground Mount, Floating | Registrant fills out form on D-REC | Cross check with: - site photos
| 6 | Capacity | Technical | Evident New Device Creation Fields | Total AC Capacity | n/a | Number box | any valid number | Registrant fills out form on D-REC | Cross check with: - RMS - SLD
| 7 | Commissioning Date | Technical | Evident New Device Creation Fields | Commissioning Date | n/a | Date field | any valid date | Registrant fills out form on D-REC | Cross check with: - Proof of COD - 1st day of generation data
| 8 | Requested Effective Registration Date | Technical | Evident New Device Creation Fields | Requested Effective Registration Date | Please provide the date from which you would like to begin issuing D-RECs for this facility; default is COD. | Date field | auto-fill with COD or relevant RMD window (whichever is most recent), allow user to override with any valid data after COD | Registrant fills out form on D-REC | n/a
| 9 | Other Labelling Scheme | Technical | Evident New Device Creation Fields | Other Labelling Scheme | Please choose any other labels for which this site qualifies | Drop-down list, mult-select | C:Pesa Verification Label, The D-REC Label, EO100tm Responsible Energy Standard, European Guarantee of Origin, Hydropower Sustainability Standard, Use with matched attributes for electricity, Use with matched attributes for NFC and electricity, Use with matched attributes for NFC, Low-Carbon Hydro, New Zealand New Generation, New Zealand New Generation - Contract Backed, Peace REC, REC Brazil, T-RECs Verification Solar Rooftop Scheme, T-RECs C&I Verification Service, T-RECs Resi Verification Service, South African REC | Registrant fills out form on D-REC; auto-filled with D-REC and allow user to add more | if more labels are chosen, D-REC to pass on to relevant party
| 10 | Address | Location | Evident New Device Creation Fields | Address | n/a | Text box | n/a | Registrant fills out form on D-REC | n/a
| 11 | State/Provice | Location | Evident New Device Creation Fields | State/Provice | n/a | Text box | n/a | Registrant fills out form on D-REC | n/a
| 12 | Postcode | Location | Evident New Device Creation Fields | Postcode | n/a | Text box | n/a | Registrant fills out form on D-REC | n/a
| 13 | Country | Location | Evident New Device Creation Fields | Country | n/a | Drop-down list | Any valid country | Registrant fills out form on D-REC | Cross check with: - coordinates
| 14 | Lattitude | Location | Evident New Device Creation Fields | Lattitude | Must provide at least six digits after the decimal; must land exactly on a solar panel |  | minimum six digits after decimal | Registrant fills out form on D-REC | Cross check with: - site photos
| 15 | Longitude | Location | Evident New Device Creation Fields | Longitude | Must provide at least six digits after the decimal; must land exactly on a solar panel |  | minimum six digits after decimal | Registrant fills out form on D-REC | Cross check with: - site photos
| 16 | Date | 1.1 SF-02: Production Facility Registration | SF-02 | Not needed -- form SF-02 will be auto-generated | n/a | n/a | n/a | auto-generated upon submission to Evident | n/a
| 17 | Registration type | 1.1 SF-02: Production Facility Registration | SF-02 | Not needed -- this form will only be used to process "New" registrations, not change of details | n/a | n/a | n/a | auto-fill as "New"
| 18 | Submitter status | 1.1 SF-02: Production Facility Registration | SF-02 | Is the Registrant also the owner of the Production Facility? | n/a | Drop-down list | Yes, No | Registrant fills out form on D-REC | Cross check with: - PV system owner
| 19 | Organisation ID/code | 1.2 Registrant Contact Details | SF-02 | Not needed -- auto-filled | n/a | n/a | n/a | Will be auto-filled based on registrant's user account on D-REC which is tied to Evident | n/a
| 20 | Organisation name | 1.2 Registrant Contact Details | SF-02 | Not needed -- auto-filled | n/a | n/a | n/a | Will be auto-filled based on registrant's user account on D-REC which is tied to Evident | n/a
| 21 | Contact person | 1.2 Registrant Contact Details | SF-02 | Not needed -- auto-filled | n/a | n/a | n/a | Will be auto-filled based on registrant's user account on D-REC which is tied to Evident | n/a
| 22 | Business address | 1.2 Registrant Contact Details | SF-02 | Not needed -- auto-filled | n/a | n/a | n/a | Will be auto-filled based on registrant's user account on D-REC which is tied to Evident | n/a
| 23 | Country | 1.2 Registrant Contact Details | SF-02 | Not needed -- auto-filled | n/a | n/a | n/a | Will be auto-filled based on registrant's user account on D-REC which is tied to Evident | n/a
| 24 | e-mail | 1.2 Registrant Contact Details | SF-02 | Not needed -- auto-filled | n/a | n/a | n/a | Will be auto-filled based on registrant's user account on D-REC which is tied to Evident | n/a
| 25 | Telephone | 1.2 Registrant Contact Details | SF-02 | Not needed -- auto-filled | n/a | n/a | n/a | Will be auto-filled based on registrant's user account on D-REC which is tied to Evident | n/a
| 26 | Facility name | 1.3 Production Facility Details | SF-02 | Not needed -- same as "Site Name" above | n/a | n/a | n/a | n/a | n/a
| 27 | Facility address | 1.3 Production Facility Details | SF-02 | Not needed -- same as "Address" field above | n/a | n/a | n/a | n/a | n/a
| 28 | Country | 1.3 Production Facility Details | SF-02 | Not needed -- same as "Country" field above | n/a | n/a | n/a | n/a | n/a
| 29 | Latitude | 1.3 Production Facility Details | SF-02 | Not needed -- same as "Lattitude" field above | n/a | n/a | n/a | n/a | n/a
| 30 | Longitude | 1.3 Production Facility Details | SF-02 | Not needed -- same as "Longitude" field above | n/a | n/a | n/a | n/a | n/a
| 31 | Installed capacity MW | 1.3 Production Facility Details | SF-02 | Not needed -- same as "Total AC Capacity" field above | n/a | n/a | n/a | n/a | n/a
| 32 | Meter or Measurement ID(s) | 1.3 Production Facility Details | SF-02 | Meter or Measurement ID(s) | Please provide the serial numbers for all devices from which metering evidence will be shared (e.g. inverters, smart meter, etc.). | Multiple text boxes, with the option to add as many as needed, each labeled as "smart meter, inverter 1, inverter 2, etc." | n/a | Registrant fills out form on D-REC | Cross check with: - RMS - SLD
| 33 | Number of generating units | 1.3 Production Facility Details | SF-02 | Number of generating units | Please provide the number of devices that output useable electricity at this facility (typically the inverters) | Number box | any valid number | Registrant fills out form on D-REC | Cross check with: - RMS - SLD
| 34 | Commissioning date | 1.3 Production Facility Details | SF-02 | Not needed -- same as "Commissioning Date" above | n/a | n/a | n/a | n/a | n/a
| 35 | Owner of the network to which the Production Device is connected… | 1.3 Production Facility Details | SF-02 | Owner of the network to which the Production Device is connected | If the facility is grid-connected, please provide the name of the utility or distribution network | Text box | n/a | Registrant fills out form on D-REC | Cross check with: - SLD
| 36 | ...and the voltage of that connection | 1.3 Production Facility Details | SF-02 | Interconnection voltage | If the facility is grid-connected, please provide the interconnection voltage | Text box | n/a | Registrant fills out form on D-REC | n/a
| 37 | If the Production Device is not connected directly to the grid, specify the circumstances, and additional relevant meter registration numbers | 1.3 Production Facility Details | SF-02 | Not needed -- auto-fill based on "Operating Configuration" below | n/a | n/a | n/a | n/a | n/a
| 38 | Expected form of volume evidence | 1.3 Production Facility Details | SF-02 | Not needed -- auto-fill based on "Useable data access mode" below | n/a | n/a | n/a | n/a | n/a
| 39 | Fuel Code | 1.4 Removal Type and Code | SF-02 | Not needed -- same as "Device Fuel" above | n/a | n/a | n/a | n/a | n/a
| 40 | Fuel Description | 1.4 Removal Type and Code | SF-02 | Not needed -- same as "Device Fuel" above | n/a | n/a | n/a | n/a | n/a
| 41 | Technology Code | 1.4 Removal Type and Code | SF-02 | Not needed -- same as "Device Technology" above | n/a | n/a | n/a | n/a | n/a
| 42 | Technology Description | 1.4 Removal Type and Code | SF-02 | Not needed -- same as "Device Technology" above | n/a | n/a | n/a | n/a | n/a
| 43 | Is there an on-site (captive) consumer present? | 1.5 Business Details | SF-02 | Is there an on-site (captive) consumer present? | n/a | Drop-down list | Yes, No | Registrant fills out form on D-REC | Cross check with: - Proof of ownership
| 44 | If yes, provide details | 1.5 Business Details | SF-02 | Not needed -- same as "Off-taker name" below | n/a | n/a | n/a | n/a | n/a
| 45 | Auxiliary/standby energy sources present? | 1.5 Business Details | SF-02 | Are there any auxiliary or standby energy sources present? | (typically a backup generator or battery) | Drop-down list | Yes, No | Registrant fills out form on D-REC | Cross check with: - SLD | remove "energy storage" and "energy storage capacity" fields on D-REC and replace with this field
| 46 | If yes, provide details | 1.5 Business Details | SF-02 | If yes, provide details | Describe the number of units, capacity per unit, and fuel source (e.g. 1 x 250kVA diesel generator) | Text box | n/a | Registrant fills out form on D-REC | Cross check with: - SLD | remove "energy storage" and "energy storage capacity" fields on D-REC and replace with this field
| 47 | Please give details of how the site can import electricity by means other than through the meter(s) specified above | 1.5 Business Details | SF-02 | Please give details of how the site can import electricity by means other than through the meter(s) specified above | n/a | Text box | n/a | Registrant fills out form on D-REC | Cross check with: - SLD
| 48 | Please give details (including registration id) of any carbon offset or energy tracking scheme for which the Production Facility is registered. State ‘None’ if that is the case | 1.5 Business Details | SF-02 | Please give details (including registration id) of any carbon offset or energy tracking scheme for which the Production Facility is registered. State ‘None’ if that is the case | n/a | Text box | n/a | Registrant fills out form on D-REC | If anything other than "None" is specified, registration cannot be approved
| 49 | Please identify any Labelling Scheme(s) for which the Production Facility is accredited | 1.5 Business Details | SF-02 | Not needed -- same as "Other labelling scheme" above | n/a | n/a | n/a | n/a | n/a
| 50 | Has the Production Facility ever received public (government) funding (e.g. Feed in Tariff)? | 1.5 Business Details | SF-02 | Has the Production Facility ever received public (government) funding (e.g. Feed in Tariff)? | n/a | Drop-down list | Yes, No | Registrant fills out form on D-REC | n/a
| 51 | (if public (government) funding has been received when did/will it finish?) | 1.5 Business Details | SF-02 | (if public (government) funding has been received when did/will it finish?) | n/a | Date field | Any valid date | Registrant fills out form on D-REC | n/a
| 52 | Requested effective date of registration: | 1.5 Business Details | SF-02 | Not needed -- same as "Requested Effective Registration Date" above | n/a | n/a | n/a | n/a | n/a
| 53 | Name of proposed Verification Agent | 1.6 Verification Agent | SF-02 | Not needed -- auto-fill with "Green South B.V." | n/a | n/a | n/a | n/a | n/a
| 54 | Additional Information | 1.7 Additional Information | SF-02 | Additional Information | Please provide any additional information that may be relevant to this facility's registration on Evident | Text box | n/a | Registrant fills out form on D-REC | n/a
| 55 | Signature | 1.8 Confirmation Signature | SF-02 | Signature | n/a | Signature | n/a | Registrant e-signs on submission | n/a
| 56 | Name | 1.8 Confirmation Signature | SF-02 | Name | n/a | Text box | n/a | Registrant e-signs on submission | n/a
| 57 | Date | 1.8 Confirmation Signature | SF-02 | Not needed -- auto-generated on submission to Evident | n/a | n/a | n/a | n/a | n/a
| 58 | Evidence pathway classification |  | D-REC Methodology | Is this facility connected to the grid? | n/a | Drop-down list | Yes, No | Registrant fills out form on D-REC | Cross check with: - SLD
| 59 | Evidence pathway classification |  | D-REC Methodology | Does this facility export to the grid? | n/a | Drop-down list | No (zero-export), Yes (partial-export), Yes (full-export) | Registrant fills out form on D-REC | Cross check with: - SLD
| 60 | Operating Configuration |  | D-REC Methodology | Not needed -- same as "Evidence pathway classification" above | n/a | n/a | n/a | n/a | n/a
| 61 | Network Meter Availability -- present? |  | D-REC Methodology | If this facility is grid-connected, is there a utility or network meter installed at this site? | n/a | Drop-down list | Yes, No | Registrant fills out form on D-REC | Cross check with: - SLD
| 62 | Network Meter Availability -- shareable? |  | D-REC Methodology | If yes, can you share the meter reads from the network or utility meter via an official document (e.g. a utility bill or online dashboard)? | If "yes", this must be provided as sample metering evidence | Drop-down list | Yes, No | Registrant fills out form on D-REC | Cross check with: - sample metering evidence
Stuti has a note to add | 63 | Usable data access mode |  | D-REC Methodology | How will you share metering evidence for this site? | Will require paragraph explaining what each mode means | Drop-down list | Mode 1 — Direct API-based source access , Mode 2 — Direct portal access , Mode 3 — Source-linked file submission , Mode 4 — Submitted data with compensating controls | Registrant fills out form on D-REC | Cross check with: - sample metering evidence
| 64 | Photos of the device |  | Attachments | Site photos | Please provide at least three photos that show the entire installation plus enough surrounding topography to match with a satellite image. | File upload | minimum three files | Registrant fills out form on D-REC | Cross check with: - coordinates - SLD
| 65 | Single Line Diagram (SLD) |  | Attachments | Single Line Diagram (SLD) | n/a | File upload | n/a | Registrant fills out form on D-REC | Cross check with: - site name - total AC capacity - metering point - all serial numbers - grid connection - load - auxiliary/standby energy sources - signature/stamp of facility owner or engineer
| 66 | Owner’s declaration letter |  | Attachments | Owner's Declaration Letter | Please provide a signed copy of the attached template on your organization's letterhead. It must match this format, language, and site details exactly, and must include contact information for the person signing. | File upload | n/a | Registrant fills out form on D-REC | Cross check with: - template language - PV system owner - site name - site address - coordinates - total AC capacity - commissioning date
| 67 | Proof of ownership / control and rights to attributes (PPA/offtaker contract) |  | Attachments | Proof of Ownership and Rights to Transact | Please provide a copy of the contract with the PV system owner such as a PPA or lease agreement that clarifies who owns the facility and who has the legal right to trade the environmental attributes. | File upload | n/a | Registrant fills out form on D-REC | Cross check with: - site name - total AC capacity - location - PV system owner - OD letter
Stuti to add exact process | 68 | Sample metering evidence |  | Attachments | Sample metering evidence | Please provide a sample of the metering evidence you will rely on for I-REC issuance [note -- will require paragraph explanation of acceptable forms of metering evidence] | File upload | n/a | Registrant fills out form on D-REC | Cross check with: - evidence pathway classification - network meter availability - useable data access mode - site name - SLD - meter/measurement IDs
| 69 | Proof of COD |  | Attachments | Proof of Commissioning Date | Please provide an official document (such as a handover letter to the offtaker or a commissioning certificate from the utility) that confirms the commissioning date | File upload | n/a | Registrant fills out form on D-REC | Cross check with: - COD - site name - first day of generation data
| 70 | Facility boundary |  | Attachments | Facility boundary | Please provide a satelite image with an outline of the panels drawn over it. This must include all panels (or all relevant topography if the satellite image is date prior to installation). | File upload | n/a | Registrant fills out form on D-REC | n/a
| 71 | Other Documents |  | Attachments | Other Documents | Please provide any other documents that may be relevant to this facility's registration on Evident (e.g. No RPO letter for facilities in India) | File upload | n/a | Registrant fills out form on D-REC | n/a
| 72 | Off-taker type |  | D-REC Registration Form | Off-taker Type | n/a | Drop-down list | Education, Health Facility, Residential, Commercial, Industrial, Public Sector, Agriculture, Utility, Off-Grid Community | Registrant fills out form on D-REC | n/a
| 73 | Impact story |  | D-REC Registration Form | Impact Story | Please provide a brief description of the social and/or environmental impact being created by this facility | Text box | n/a | Registrant fills out form on D-REC | n/a
| 74 | SDG benefits |  | D-REC Registration Form | SDG Benefits | Please choose all applicable UN Sustainable Development Goals that this facility is promoting | Drop-down list, multi-select | No Poverty, Zero Hunger, Good Health and Well-being, Quality Education, Gender Equality, Clean Water and Sanitation, Affordable and Clean Energy, Decent Work and Economic Growth, Industry, Innovation and Infrastructure, Reduced Inequality, Sustainable Cities and Communities, Responsible Consumption and Production, Climate Action, Life Below Water, Life on Land, Peace and Justice Strong Institutions, Partnerships to achieve the SDG | Registrant fills out form on D-REC | n/a
| 75 | Energy storage status |  | D-REC Registration Form | Not needed -- captured in "Auxiliary/standby energy sources" above | n/a | n/a | n/a | n/a | n/a
| 76 | Energy storage capacity |  | D-REC Registration Form | Not needed -- captured in "Auxiliary/standby energy sources" above | n/a | n/a | n/a | n/a | n/a
| 77 | Off-taker name |  | Powertrust Registration Form | Off-taker Name | Please provide the legal name of the electricity off-taker | Text box | n/a | Registrant fills out form on D-REC | Cross check with: - Proof of ownership
| 78 | PV system owner |  | Powertrust Registration Form | PV System Owner | Please provide the legal name of the PV System Owner. This must match the "Proof of Ownership" documentation shared. | Text box | n/a | Registrant fills out form on D-REC | Cross check with: - Proof of ownership
| 79 | Applicable subsidies/incentives -- present |  | Powertrust Registration Form | Has this facility ever received any form of subsidy or incentive? | n/a | Drop-down list | Yes, No | Registrant fills out form on D-REC | n/a
| 80 | Applicable subsidies/incentives -- details |  | Powertrust Registration Form | If yes, provide details | n/a | Drop-down list, multi-select (free entry text box if user selects "Other") | Net Metering, Feed In Tariff, Tax Credit, Performance Based Grant, Other | Registrant fills out form on D-REC | n/a
| 81 | Do any applicable subsidies or incentives create a claim on the EACs? |  | Powertrust Registration Form | Do any applicable subsidies or incentives create a claim on the environmental attributes? | n/a | Drop-down list | Yes, No | Registrant fills out form on D-REC | n/a
| 82 | Is the Electricity Off-taker part of the same company (or at least 51% part of the same company group) as the PV system owner? |  | PT Appendix A | Is the Electricity Off-taker part of the same company (or at least 51% part of the same company group) as the PV system owner? | n/a | Drop-down list | Yes, No | Registrant fills out form on D-REC | n/a

## Notes
Item | Notes
SLD | will require inverter/meter serial numbers and labels such as "inverter 1, inverter 2, etc."
OD letter | Paul to share template with Stuti
Error margin | Paul to share note on accepting data that varies from metering evidence by any amount below or up to 3-5% above
IR checklist | Paul to draft similar checklist for IR process

## Operating Checklist
OC# | # (from "All Fields") | Item | Section | Reference/Source of Requirement | Exact Language to Use on D-REC Platform | Tooltip/explanation needed | Field type | Enums / validation | How is it Collected? | How is it Verified? | Currently on D-REC? (e.g. production vs dev)
1 | 1 | Device Name | General | Evident New Device Creation Fields | Site Name | n/a | Text box | n/a | Registrant fills out form on D-REC | Cross check with: - RMS - SLD - Proof of Ownership - OD letter
2 | 10 | Address | Location | Evident New Device Creation Fields | Address | n/a | Text box | n/a | Registrant fills out form on D-REC | n/a
3 | 11 | State/Provice | Location | Evident New Device Creation Fields | State/Provice | n/a | Text box | n/a | Registrant fills out form on D-REC | n/a
4 | 12 | Postcode | Location | Evident New Device Creation Fields | Postcode | n/a | Text box | n/a | Registrant fills out form on D-REC | n/a
5 | 28 | Country | Location | Evident New Device Creation Fields | Country | n/a | Drop-down list | Any valid country | Registrant fills out form on D-REC | Cross check with: - coordinates
6 | 14 | Lattitude | Location | Evident New Device Creation Fields | Lattitude | Must provide at least six digits after the decimal; must land exactly on a solar panel |  | minimum six digits after decimal | Registrant fills out form on D-REC | Cross check with: - site photos
7 | 30 | Longitude | Location | Evident New Device Creation Fields | Longitude | Must provide at least six digits after the decimal; must land exactly on a solar panel |  | minimum six digits after decimal | Registrant fills out form on D-REC | Cross check with: - site photos
8 | 5 | Device Technology | Technical | Evident New Device Creation Fields | Installation Type | n/a | Drop-down list | Rooftop, Ground Mount, Floating | Registrant fills out form on D-REC | Cross check with: - site photos
9 | 6 | Capacity | Technical | Evident New Device Creation Fields | Total AC Capacity | n/a | Number box | any valid number | Registrant fills out form on D-REC | Cross check with: - RMS - SLD
10 | 7 | Commissioning Date | Technical | Evident New Device Creation Fields | Commissioning Date | n/a | Date field | any valid date | Registrant fills out form on D-REC | Cross check with: - Proof of COD - 1st day of generation data
11 | 8 | Requested Effective Registration Date | Technical | Evident New Device Creation Fields | Requested Effective Registration Date | Please provide the date from which you would like to begin issuing D-RECs for this facility; default is COD. | Date field | auto-fill with COD or relevant RMD window (whichever is most recent), allow user to override with any valid data after COD | Registrant fills out form on D-REC | n/a
12 | 2 | Default Account Code | General | Evident New Device Creation Fields | Default Evident Account Code | Please provide the Evident trade account code you would like this facility to issue into | Text box | n/a | Registrant fills out form on D-REC | n/a
13 | 33 | Number of generating units | 1.3 Production Facility Details | SF-02 | Number of generating units | Please provide the number of devices that output useable electricity at this facility (typically the inverters) | Number box | any valid number | Registrant fills out form on D-REC | Cross check with: - RMS - SLD
14 | 32 | Meter or Measurement ID(s) | 1.3 Production Facility Details | SF-02 | Meter or Measurement ID(s) | Please provide the serial numbers for all devices from which metering evidence will be shared (e.g. inverters, smart meter, etc.). | Multiple text boxes, with the option to add as many as needed, each labeled as "smart meter, inverter 1, inverter 2, etc." | n/a | Registrant fills out form on D-REC | Cross check with: - RMS - SLD
15 | 59 | Evidence pathway classification |  | D-REC Methodology | Is this facility connected to the grid? | n/a | Drop-down list | Yes, No | Registrant fills out form on D-REC | Cross check with: - SLD
16 | 59 | Evidence pathway classification |  | D-REC Methodology | Does this facility export to the grid? | n/a | Drop-down list | No (zero-export), Yes (partial-export), Yes (full-export) | Registrant fills out form on D-REC | Cross check with: - SLD
17 | 35 | Owner of the network to which the Production Device is connected… | 1.3 Production Facility Details | SF-02 | Owner of the network to which the Production Device is connected | If the facility is grid-connected, please provide the name of the utility or distribution network | Text box | n/a | Registrant fills out form on D-REC | Cross check with: - SLD
18 | 36 | ...and the voltage of that connection | 1.3 Production Facility Details | SF-02 | Interconnection voltage | If the facility is grid-connected, please provide the interconnection voltage | Text box | n/a | Registrant fills out form on D-REC | n/a
19 | 61 | Network Meter Availability -- present? |  | D-REC Methodology | If this facility is grid-connected, is there a utility or network meter installed at this site? | n/a | Drop-down list | Yes, No | Registrant fills out form on D-REC | Cross check with: - SLD
20 | 62 | Network Meter Availability -- shareable? |  | D-REC Methodology | If yes, can you share the meter reads from the network or utility meter via an official document (e.g. a utility bill or online dashboard)? | If "yes", this must be provided as sample metering evidence | Drop-down list | Yes, No | Registrant fills out form on D-REC | Cross check with: - sample metering evidence
21 | 47 | Please give details of how the site can import electricity by means other than through the meter(s) specified above | 1.5 Business Details | SF-02 | Please give details of how the site can import electricity by means other than through the meter(s) specified above | n/a | Text box | n/a | Registrant fills out form on D-REC | Cross check with: - SLD
22 | 63 | Usable data access mode |  | D-REC Methodology | How will you share metering evidence for this site? | Will require paragraph explaining what each mode means | Drop-down list | Mode 1 — Direct API-based source access , Mode 2 — Direct portal access , Mode 3 — Source-linked file submission , Mode 4 — Submitted data with compensating controls | Registrant fills out form on D-REC | Cross check with: - sample metering evidence
23 | 43 | Is there an on-site (captive) consumer present? | 1.5 Business Details | SF-02 | Is there an on-site (captive) consumer present? | n/a | Drop-down list | Yes, No | Registrant fills out form on D-REC | Cross check with: - Proof of ownership
24 | 45 | Auxiliary/standby energy sources present? | 1.5 Business Details | SF-02 | Are there any auxiliary or standby energy sources present? | (typically a backup generator or battery) | Drop-down list | Yes, No | Registrant fills out form on D-REC | Cross check with: - SLD | remove "energy storage" and "energy storage capacity" fields on D-REC and replace with this field
25 | 46 | If yes, provide details | 1.5 Business Details | SF-02 | If yes, provide details | Describe the number of units, capacity per unit, and fuel source (e.g. 1 x 250kVA diesel generator) | Text box | n/a | Registrant fills out form on D-REC | Cross check with: - SLD | remove "energy storage" and "energy storage capacity" fields on D-REC and replace with this field
26 | 18 | Submitter status | 1.1 SF-02: Production Facility Registration | SF-02 | Is the Registrant also the owner of the Production Facility? | n/a | Drop-down list | Yes, No | Registrant fills out form on D-REC | Cross check with: - PV system owner
27 | 78 | PV system owner |  | Powertrust Registration Form | PV System Owner | Please provide the legal name of the PV System Owner. This must match the "Proof of Ownership" documentation shared. | Text box | n/a | Registrant fills out form on D-REC | Cross check with: - Proof of ownership
28 | 77 | Off-taker name |  | Powertrust Registration Form | Off-taker Name | Please provide the legal name of the electricity off-taker | Text box | n/a | Registrant fills out form on D-REC | Cross check with: - Proof of ownership
29 | 72 | Off-taker type |  | D-REC Registration Form | Off-taker Type | n/a | Drop-down list | Education, Health Facility, Residential, Commercial, Industrial, Public Sector, Agriculture, Utility, Off-Grid Community | Registrant fills out form on D-REC | n/a
30 | 82 | Is the Electricity Off-taker part of the same company (or at least 51% part of the same company group) as the PV system owner? |  | PT Appendix A | Is the Electricity Off-taker part of the same company (or at least 51% part of the same company group) as the PV system owner? | n/a | Drop-down list | Yes, No | Registrant fills out form on D-REC | n/a
31 | 48 | Please give details (including registration id) of any carbon offset or energy tracking scheme for which the Production Facility is registered. State ‘None’ if that is the case | 1.5 Business Details | SF-02 | Please give details (including registration id) of any carbon offset or energy tracking scheme for which the Production Facility is registered. State ‘None’ if that is the case | n/a | Text box | n/a | Registrant fills out form on D-REC | If anything other than "None" is specified, registration cannot be approved
32 | 50 | Has the Production Facility ever received public (government) funding (e.g. Feed in Tariff)? | 1.5 Business Details | SF-02 | Has the Production Facility ever received public (government) funding (e.g. Feed in Tariff)? | n/a | Drop-down list | Yes, No | Registrant fills out form on D-REC | n/a
33 | 51 | (if public (government) funding has been received when did/will it finish?) | 1.5 Business Details | SF-02 | (if public (government) funding has been received when did/will it finish?) | n/a | Date field | Any valid date | Registrant fills out form on D-REC | n/a
34 | 79 | Applicable subsidies/incentives -- present |  | Powertrust Registration Form | Has this facility ever received any form of subsidy or incentive? | n/a | Drop-down list | Yes, No | Registrant fills out form on D-REC | n/a
35 | 80 | Applicable subsidies/incentives -- details |  | Powertrust Registration Form | If yes, provide details | n/a | Drop-down list, multi-select (free entry text box if user selects "Other") | Net Metering, Feed In Tariff, Tax Credit, Performance Based Grant, Other | Registrant fills out form on D-REC | n/a
36 | 81 | Do any applicable subsidies or incentives create a claim on the EACs? |  | Powertrust Registration Form | Do any applicable subsidies or incentives create a claim on the environmental attributes? | n/a | Drop-down list | Yes, No | Registrant fills out form on D-REC | n/a
37 | 9 | Other Labelling Scheme | Technical | Evident New Device Creation Fields | Other Labelling Scheme | Please choose any other labels for which this site qualifies | Drop-down list, mult-select | C:Pesa Verification Label, The D-REC Label, EO100tm Responsible Energy Standard, European Guarantee of Origin, Hydropower Sustainability Standard, Use with matched attributes for electricity, Use with matched attributes for NFC and electricity, Use with matched attributes for NFC, Low-Carbon Hydro, New Zealand New Generation, New Zealand New Generation - Contract Backed, Peace REC, REC Brazil, T-RECs Verification Solar Rooftop Scheme, T-RECs C&I Verification Service, T-RECs Resi Verification Service, South African REC | Registrant fills out form on D-REC; auto-filled with D-REC and allow user to add more | if more labels are chosen, D-REC to pass on to relevant party
38 | 74 | SDG benefits |  | D-REC Registration Form | SDG Benefits | Please choose all applicable UN Sustainable Development Goals that this facility is promoting | Drop-down list, multi-select | No Poverty, Zero Hunger, Good Health and Well-being, Quality Education, Gender Equality, Clean Water and Sanitation, Affordable and Clean Energy, Decent Work and Economic Growth, Industry, Innovation and Infrastructure, Reduced Inequality, Sustainable Cities and Communities, Responsible Consumption and Production, Climate Action, Life Below Water, Life on Land, Peace and Justice Strong Institutions, Partnerships to achieve the SDG | Registrant fills out form on D-REC | n/a
39 | 73 | Impact story |  | D-REC Registration Form | Impact Story | Please provide a brief description of the social and/or environmental impact being created by this facility | Text box | n/a | Registrant fills out form on D-REC | n/a
40 | 54 | Additional Information | 1.7 Additional Information | SF-02 | Additional Information | Please provide any additional information that may be relevant to this facility's registration on Evident | Text box | n/a | Registrant fills out form on D-REC | n/a
41 | 56 | Name | 1.8 Confirmation Signature | SF-02 | Name | n/a | Text box | n/a | Registrant e-signs on submission | n/a
42 | 55 | Signature | 1.8 Confirmation Signature | SF-02 | Signature | n/a | Signature | n/a | Registrant e-signs on submission | n/a
43 | 64 | Photos of the device |  | Attachments | Site photos | Please provide at least three photos that show the entire installation plus enough surrounding topography to match with a satellite image. | File upload | minimum three files | Registrant fills out form on D-REC | Cross check with: - coordinates - SLD
44 | 70 | Facility boundary |  | Attachments | Facility boundary | Please provide a satelite image with an outline of the panels drawn over it. This must include all panels (or all relevant topography if the satellite image is date prior to installation). | File upload | n/a | Registrant fills out form on D-REC | n/a
45 | 65 | Single Line Diagram (SLD) |  | Attachments | Single Line Diagram (SLD) | n/a | File upload | n/a | Registrant fills out form on D-REC | Cross check with: - site name - total AC capacity - metering point - all serial numbers - grid connection - load - auxiliary/standby energy sources - signature/stamp of facility owner or engineer
46 | 66 | Owner’s declaration letter |  | Attachments | Owner's Declaration Letter | Please provide a signed copy of the attached template on your organization's letterhead. It must match this format, language, and site details exactly, and must include contact information for the person signing. | File upload | n/a | Registrant fills out form on D-REC | Cross check with: - template language - PV system owner - site name - site address - coordinates - total AC capacity - commissioning date
47 | 67 | Proof of ownership / control and rights to attributes (PPA/offtaker contract) |  | Attachments | Proof of Ownership and Rights to Transact | Please provide a copy of the contract with the PV system owner such as a PPA or lease agreement that clarifies who owns the facility and who has the legal right to trade the environmental attributes. | File upload | n/a | Registrant fills out form on D-REC | Cross check with: - site name - total AC capacity - location - PV system owner - OD letter
48 | 69 | Proof of COD |  | Attachments | Proof of Commissioning Date | Please provide an official document (such as a handover letter to the offtaker or a commissioning certificate from the utility) that confirms the commissioning date | File upload | n/a | Registrant fills out form on D-REC | Cross check with: - COD - site name - first day of generation data
49 | 68 | Sample metering evidence |  | Attachments | Sample metering evidence | Please provide a sample of the metering evidence you will rely on for I-REC issuance [note -- will require paragraph explanation of acceptable forms of metering evidence] | File upload | n/a | Registrant fills out form on D-REC | Cross check with: - evidence pathway classification - network meter availability - useable data access mode - site name - SLD - meter/measurement IDs
50 | 71 | Other Documents |  | Attachments | Other Documents | Please provide any other documents that may be relevant to this facility's registration on Evident (e.g. No RPO letter for facilities in India) | File upload | n/a | Registrant fills out form on D-REC | n/a