## Eligibility
1.1 What type of devices are eligible for your verification label or please explain your eligibility criteria (e.g., specific technologies, capacity, grid connection or off grid, social criteria)
Eligible assets are classified by operating configuration:
grid-connected: behind-the-meter with no export, behind-the-meter with permitted export, or full export / open access;
off-grid/islanded: no grid connection for the claimed generation; or
dual-mode/hybrid: systems that may operate with and without grid interaction, classified according to the operating configuration and measurement pathway relevant to the claimed generation.
A device is eligible only where:
the device and its operating configuration can be identified with sufficient clarity;
the generation relevant to the claim can be identified with sufficient clarity;
the rights to the claimed generation can be established with sufficient clarity under this methodology; and
an accepted evidence pathway and usable source-access mode exist for the claimed generation under this methodology.
A device is not eligible where:
its identity, boundaries, or operating configuration cannot be determined with sufficient clarity;
the generation relevant to the claim cannot be identified with sufficient clarity;
the rights to the claimed generation cannot be established with sufficient clarity;
no accepted evidence pathway or usable source-access mode exists for the claimed generation under this methodology; or
the asset falls outside the scope of the applicable Issuer, Registry, or this methodology.

## Evidence - Consumption & Export
1.2 If your targeted and eligible devices have captive or self-consumption, will there be separate data available to determine the volume of this consumption? In other words, could a distinction be made between volume that reached a grid and volume that was consumed behind the meter?
Where eligible devices have captive consumption, a distinction between behind-the-meter consumption and export volume can be made only where the operating configuration and available evidence support that distinction for the relevant production period. Where that distinction cannot be established, the methodology limits the claim to the volume and pathway that the available evidence can support. Where a network meter exists, it either governs the export component or defines the maximum eligible volume for issuance, depending on the operating configuration.
Where more than one evidence type is available, stronger externally anchored evidence takes precedence over weaker operator-originated evidence. Dual-mode / hybrid systems are assessed according to the operating configuration and measurement pathway relevant to the claimed generation for the relevant period.
Table 1: Methodological Position and Evidence Basis by Operating Configuration
Operating configuration | Grid-connected, behind-the-meter, no export | Grid-connected, behind-the-meter, with permitted export | Grid-connected, full export / open-access | Off-grid / islanded
Methodological position | No export is part of the claimed generation pathway for the relevant period. | Export and self-consumption may both exist, but only the portion that can be distinguished may support a more specific claim. | The claimed generation pathway is full export for the relevant period. | No grid-delivery pathway exists for the claimed generation.
Evidence that may support the position | 1. System design documents or single-line diagram showing a no-export configuration. 2. Inverter or EMS settings showing zero-export or export disabled. 3. Utility or interconnection status showing no export approval. 4. Metering setup showing no export channel. 5. Monitoring records consistent with non-export operation. 6. Operator declaration supported by the above where available. | 1. Utility, settlement, or net-metering records. 2. Import/export meter channels. 3. Inverter, EMS, or RMS records showing separate export data. 4. Site metering architecture and diagrams. 5. Contractual or regulatory records permitting export. Where a network meter exists, it governs the export component and caps the export claim accordingly. | 1. Utility or offtaker records. 2. Export meter data. 3. Open-access, wheeling, or interconnection documentation where applicable. 4. Metering architecture showing exported volume as the relevant measured output. 5. Monitoring and commercial records consistent with full-export operation. Where a network meter exists, it is the absolute maximum for issuance and takes precedence | 1. Site and system design documents. 2. Location and interconnection status. 3. System architecture showing standalone or islanded operation. 4. Operator and project records. 5. Monitoring setup consistent with off-grid operation.
If evidence is insufficient | The system shall not be treated as a non-export configuration for the relevant claim. | The methodology shall not support a claim that depends on distinguishing export from self-consumption and shall limit the assessed volume to what the available evidence can support. | The system shall not be treated as a full-export configuration for the relevant claim. | The system shall not be treated as an off-grid configuration for the relevant claim until the operating configuration has been established with sufficient clarity.

## Registration
1. 3 Do you register devices individually, group devices, or do both?
Both routes are used. All devices are onboarded individually. Grouped registration is permitted under this methodology to support structured aggregated submission, subject to controls sufficient to preserve device-level traceability and prevent group-level averaging from obscuring individual device anomalies.
Table 2: Onboarding Process Flow
Step | Activity title | Output / Decision
1 | Submission by the Registrant | Onboarding package received for each device. Where grouped registration is requested, the proposed grouped devices are identified at submission and proceed to device-level review.
2 | Device-level onboarding review | Submitted metadata, supporting documents, operating configuration, evidence pathway, and source-access mode are reviewed for each device. Incomplete, inconsistent, or unclear submissions are returned for correction or additional information.
3 | Additional group-level review, where grouped registration is requested | Proposed grouped devices are reviewed against the grouping requirements. Grouped registration does not proceed unless all included devices pass device-level review and the proposed group meets the applicable grouping rules.
4 | Approval decision | Device or group is approved for registration submission only where the applicable requirements of this methodology have been met.
5 | Registration data pushed to Evident | Accepted registration metadata is submitted to Evident through the applicable issuer and registry API pathway. The fields submitted are those required by the applicable issuer and registry registration process. Supporting evidence is retained by the Labelling Authority for later issuer review, audit, and production-data verification.
Table 3: Route-specific Onboarding Detail
Registration route | Individual device registration | Grouped registration
Data Collected | Device metadata: 1. installed AC capacity, 2. location, 3. commissioning date, 4. technology type, 5. and inverter serial number where available and applicable; supporting documentation as defined in Table 5 of this methodology Onboarding classification fields: 1. evidence-pathway classification, 2. operating configuration, 3. captive-consumption status, 4. network-meter availability, 5. and usable source-access mode. | 1. The same device-level metadata and supporting documentation for each included device; 2. plus group-level information needed to assess grouping eligibility, including the proposed group composition, aggregate AC capacity, common grouping characteristics, and any other information required to confirm compliance with the grouping requirements in Section 1.3.
Checks Performed | Submission is reviewed for: 1. Completeness; 2. internal consistency; 3. plausibility against supporting evidence; 4. eligibility; 5. clarity of operating configuration and monitoring pathway; 6. basic device identity sufficient to proceed to the uniqueness checks in Section 1.4; 7. screening for possible duplicate registration or overlapping attribute issuance. | 1. All individual device checks, applied to each included device; 2. plus, confirmation that the group remains within the 250 kW limits, meets the Section 1.3 including any relevant capacity limit under the pathway, and can be assessed consistently because no included device has an incompatible evidence pathway or source-access mode.
How Checks are Performed | Manual review of submitted metadata and supporting documents, supplemented by rule-based consistency checks where the available data structure supports them, in the following sequence: 1. Cross-check of metadata fields for completeness and internal consistency. 2. Review of operating configuration, evidence pathway, and source-access mode. 3. Screening against Labelling Authority records for possible duplication or overlap. 4. Where access is available, screening against registry data for possible duplication or overlap. | Device-level review of each included device, followed by group-level review against the Section 1.3 grouping requirements, including aggregated AC capacity, grouping characteristics, and evidence-pathway / data-access compatibility.
If Checks Fail | 1. Incomplete or inconsistent submissions are returned for correction or additional information. 2. Submissions that fail eligibility, cannot establish a plausible evidence pathway or usable data-access mode, or indicate possible duplicate registration or overlapping attribute issuance do not proceed until resolved. | 1. The grouped submission is not approved as presented, where any included device fails device-level review or if the group does not meet the grouping requirements. 2. It is returned for correction, removal of affected devices, or resubmission.
1.3.1 Please describe the onboarding process for each route (individual and/or group) in case they differ. Include in your answer what data collected is collected, what checks are done to, what data pushed to Evident through API
The data-access mode determines how the Labelling Authority accesses and reviews production data for the claimed device and period. The applicable mode is identified at onboarding, recorded in the device registration record, and determines the validation checks that can be applied at issuance.
The merit of each mode is evidentiary, not operational. Stronger modes are used where available. Where a stronger mode becomes available for a device, that mode is used for the relevant period and the updated mode is recorded.
Where no usable data-access mode exists for the claimed generation, the submission does not proceed under this methodology.
Table 4: Source-Access Modes
Mode | Description | Registrant provides | Labelling Authority confirms | Supports | Does not support
Mode 1 — Direct API-based source access | Production data is accessed through an API connection that preserves direct traceability to the originating monitoring or metering system for the relevant device and period. Direct API access by the Labelling Authority to the source system is the standard case. Where direct access is not feasible, API-based ingestion via a market intermediary may qualify only where the intermediary acts solely as a source-linked transmission layer and all conditions in the Labelling Authority confirmation column are met. | System connection details and permissions needed to enable API-based access to the source data for the claimed device and period, including where applicable the operator’s consent to API-level access. Where a market intermediary is used, confirmation that the intermediary is acting as a transmission layer and that the originating source system remains the system of record. | 1. The connection provides access to data traceable to the originating monitoring or metering system for the relevant device and period. 2. The data stream maps to the correct registered device. 3. The relevant data fields and timestamps are sufficient for the applicable verification checks. 4. Where an intermediary is used, the intermediary has not materially transformed or aggregated the data in a way that breaks source traceability or device-level attribution. 5. The intermediary pathway is reviewable and auditable, such that the Labelling Authority can confirm what fields were received, from which source, and for which device and period. Where any of these conditions cannot be confirmed, the submission does not qualify as Mode 1 and is assessed under Mode 3. | 1. Independent review of source-linked data at or near the originating system. 2. Device-to-data attribution checks. 3. Timestamp-based overlap and continuity screening. 4. Plausibility checks against source-system records. 5. Production-data verification under the applicable pathway | 1. Reliance on intermediary-held, transformed, or aggregated data where the link to the originating system cannot be established with sufficient confidence. 2. Proceeding where the API connection is incomplete, unstable, or insufficient for the required checks. 3. Treating intermediary-mediated ingestion as equivalent to direct source access where source traceability is broken.
Mode 2 — Direct portal access | Production data is accessed directly in the relevant source portal or dashboard using read access or equivalent source-portal access. | Read access credentials or equivalent access to the relevant source portal for the claimed device or group. | That the portal is the relevant source system, that the visible records correspond to the claimed device or group, and that the available records are sufficient to support the applicable checks. | 1. direct review of source-system data; 2. cross-check of reported volumes, time periods, and device mapping; 3. Production-data verification under the applicable pathway. | 1. Cases where portal access is incomplete, restricted beyond the relevant records, or not sufficient to support the required checks. 2. Access only at aggregate or group level where device-level records are required.
Mode 3 — Source-linked file submission | Production data is submitted through the Registrant in file form, together with source-linked evidence sufficient to cross-check the submitted values against the originating system. Source-linked evidence means evidence sufficient to connect the submitted data file to the originating monitoring or metering system for the relevant device and period | Raw data exports from the relevant monitoring or metering source. Source-linked evidence tying the submitted file to the originating system, which for digital monitoring systems means the raw data file together with either: • direct portal access, or • portal-linked evidence showing the relevant facility identifier, dates, and production record — such as URL-matched screenshots — where login access cannot be shared. Additional documentary evidence may be required where the source-linkage conditions of the relevant operating configuration are not otherwise sufficiently established. | That the submitted file corresponds to the claimed device or group, that the source-linked evidence is sufficient to connect the file to the originating system, and that the file content is usable for the applicable checks. Where the source platform is not already known or readily assessable, that the platform is legitimate and that the available evidence provides sufficient confidence in the integrity of the source records. | 1. review of submitted raw data with source-linked corroboration; 2. plausibility checks; 3. timestamp and overlap checks where the data format supports them; 4. production-data verification under the applicable pathway. | 1. treatment as direct source access; 2. proceeding where the file cannot be cross-checked back to the originating system with sufficient confidence; 3. raw file submission without source-linked portal evidence where digital monitoring systems are in use.
Mode 4 — Submitted data with compensating controls | Production data is submitted without direct source-system access and without sufficient source-linked evidence to qualify as Mode 3. This mode is used only where explicitly permitted under this methodology and where the required compensating controls are applied. | Submitted production data and all available corroborating evidence relevant to the claimed device, period, and monitoring pathway. | 1.that no stronger source-access mode is available for the case, and the basis for that determination is recorded before proceeding under Mode 4; 2. that the applicable pathway permits use of this mode; 3. and that the required compensating controls can be applied. | 1. Limited production-data review under the applicable permitted pathway; 2. compensating controls such as: capacity plausibility, irradiance-based ceiling checks for solar assets, historical consistency review where available, and corroborating documentary evidence. | 1. treatment as direct source access; 2. any claim requiring a stronger access mode than the evidence can support; 3. proceeding where the compensating controls do not provide sufficient confidence.
Independent Data Audit Layer (IDAL). Where available, the methodology may apply an additional second-copy comparison for the same device and period using an accepted external source. This control strengthens cross-source verification but does not replace the primary source-access and evidence requirements of the applicable mode. The detailed conditions governing this control are defined in the Technical Annex.

## Validation & Verification
1.5. Please share with us how the following information is collected and how the validity can be guaranteed (what (automated) checks does Green South do).
Table 5: Collection and Validation of Core Device Information
A. Identity and configuration
Data point | Status | Registrant provides | Primary evidence | Secondary evidence | Validation approach
Installed capacity | Mandatory | Registered AC capacity as core metadata | SLD | Design documents | Registered AC capacity is compared across metadata and supporting technical documents for consistency. Material mismatch is investigated before approval.
Location | Mandatory | Site coordinates and/or site address | Site photos with location metadata or equivalent location-identifying information. | Design documents; satellite imagery where available. | Location is corroborated against supporting evidence. Photos must include location metadata or equivalent location-identifying information. Material mismatch or unresolved ambiguity is investigated before approval.
Commissioning date | Mandatory | Commissioning date as core metadata | Commissioning certificate or equivalent; first observed generation date from the applicable monitoring source where available; | Bill of sale | Commissioning date is compared against documentary evidence and, where available, first observed generation. Material discrepancy is investigated. Generation predating the claimed commissioning date is flagged for review.
Technology type / fuel code | Mandatory | Technology type as core metadata | Site photos | Design documents | The claimed technology type is confirmed against the Version 1 scope of this methodology and corroborated through supporting evidence. Inconsistency is investigated before approval.
Photos of the device | Mandatory | Site photos at onboarding, including location metadata or equivalent location-identifying information. | Site photos with location metadata or equivalent location-identifying information. | Layout diagram, EMS/RMS/OMS supporting the coordinates | Photos must show the full device configuration sufficiently to confirm scale and layout. They are used to corroborate device existence, technology type, and consistency with the stated location. Photos alone are not treated as conclusive.
Single Line Diagram (SLD) | Mandatory | SLD using standard electrical notation. For small devices, simplified diagrams are acceptable where they clearly show the metering point, panel connection, and grid feed if applicable. | SLD reviewed together with capacity metadata, photos, and system details |  | The SLD is reviewed for system configuration, DC/AC capacity consistency, metering points, backup generator or alternate energy source where applicable, storage presence, grid connection status, and internal consistency with other submitted documents. Missing or inconsistent SLD information is returned for clarification or correction.
System details | Mandatory | Monitoring setup description and grid-connection information. | SLD; grid-connection documents; monitoring source information. | Design documents; PPA where relevant to configuration. | System details are reviewed to confirm monitoring setup, grid connection status, and the metering and monitoring points relevant to the evidence pathway. These details are recorded in the device registration record and used to establish the applicable evidence pathway and monitoring requirements for later verification.
Inverter serial number | Where available and applicable | Inverter serial number as metadata and/or equipment documentation | Monitoring platform configuration | Inverter records, equipment documentation, site photos | The inverter serial number is used as a device identity marker where available and is matched against equipment documentation and other device information. Mismatch is investigated before approval. Absence does not disqualify the device where other identity controls are sufficient, but the absence is recorded in the device identity profile.
B. Ownership and rights
Data point | Status | Registrant provides | Primary evidence | Secondary evidence | Validation approach
Owner’s declaration letter | Mandatory | Signed declaration by the relevant owner or authorized party | The signed declaration itself. |  | Required for submission under the applicable I-REC(E) pathway. Checked for consistency with the rest of the registration file.
Proof of ownership / control and rights to attributes | Supplementary where used | Ownership documents, operating agreement, lease, or equivalent device-level documentation; rights-related documentation | PPA/Off-taker contract | Submitted ownership and rights documentation | The relationship between the Registrant, device owner, and operating entity is assessed to confirm that the claimed registration structure is supportable and that the claimed generation attributes are available for registration. Inconsistencies are investigated before approval. Where the relationship or rights position cannot be established with sufficient confidence, the submission does not proceed.
Power Purchase Agreement (if applicable) | Mandatory where applicable | PPA or equivalent contractual document | PPA reviewed together with other rights-related documentation | Other rights-related documentation where PPA alone does not establish the full rights position. | The PPA is reviewed for off-taker identity, delivery arrangement, and rights or entitlement to the claimed generation attributes. Conflicts, prior allocation, or restrictions affecting the claim are investigated. Where no PPA exists, alternative rights documentation is assessed.
C. Monitoring and generation evidence
Data point | Status | Registrant provides | Primary evidence | Secondary evidence | Validation approach
Sample metering evidence | Mandatory | Metering data from the proposed monitoring or metering source, submitted to establish the origination pathway at onboarding. | Screenshots from the EMS/RMS/OMS showing the relevant device and period. | Local CSV or equivalent export from a data logger or inverter where no remote connectivity exists. In limited cases, hard-copy logbook or billing evidence accepted under the applicable issuer pathway. | The origination pathway is established before the metering evidence is assessed. The evidence is reviewed to confirm that an accepted monitoring or metering source exists for later production-data verification and that it is consistent with the claimed operating configuration, evidence pathway, and source-access mode. The applicable production-data checks are addressed in the later verification sections of this methodology.